## Slide 1: Wisconsin Certified Sites Site Profiles – 2017 Program Field Investigations and follow-up evaluation
December 2017

## Slide 2
Sparta South Pointe Business Park
Sparta, Monroe County, Wisconsin

## Slide 3: Field Investigation: Sparta South Pointe Business Park – Community Introduction
Requirement | Status | Comments
Community overview General community fit for industrial activity | Fulfilled | City of Sparta is a community of ~10,000 people located in Monroe County, Wisconsin. Sparta is also the county seat of Monroe County Sparta (Population: ~10,000) and Tomah (Population: ~20,000) make up a large chunk of the population of Monroe County Total labor force is about 65% of the city population where the largest employer is Monroe County Manufacturing and food processing are the major industries present in the area The largest employer – Mathews Archery Inc. (400 employees) is the top Archery Bow Maker nationally and has lent an identity to the city of Sparta Other significant employers include Northern Engraving Corporation (auto supplier; 300 employees), Multistack (heating and chilling units; 200 employees), Century Foods (powdered milk, weigh protein; 400 employees), Foremost Farms (100 employees), McDonnell and Lumber (100 employees) and US Silicone (50 employees) The city is very favorably located within 8 miles from For McCoy. Fort McCoy is a huge military base (60,000 acres) with about 1300 civilian, 400 military full-time and 300 contract personnel training at the compound. Major activities at the base include acting as a training facility for the reserve national guard and field artillery training. This base could serve as a huge asset for the city for potential employers looking to locate in the area
Site environment overview General surroundings fit for industrial activity | Fulfilled | The site being proposed for certification falls within the Sparta South Pointe Business Park which is located towards the south of the Sparta city center at a distance of approximately~2.5 miles Industrial operations in Sparta are generally clustered in the south-southwest of the city. The site is located in this part of the city and is adjacent to Agricultural use to the South, across the highway from Commercial use to the west, and across the road from sparse Residential uses and a small cemetery to the east
Roadway access Proximity to interstate and other highways providing convenient access for labor and logistics Access roads in place to site, or plans in place to extend access road(s) to site | Fulfilled | The site is directly adjacent to Interstate-90 to the north and US Highway 27 (4 lane highway) to the west, which provides ingress/egress access along the western boundary of the site

## Slide 4: Field Investigation: Sparta South Pointe Business Park – Community Introduction
Requirement | Status | Comments
Rail Access (if applicable) – not required feasibility of service (if site is to be marketed as rail-served) | Not applicable | Site is currently not rail served
Commercial Airport Access – Access to airport(s) with commercial air service Driving distance to proximate commercial airport(s) and overview of service available | Fulfilled | About 25 minutes to the La Crosse Regional Airport (LSE) – 26 miles directly on Interstate-90 About 1 hour and 30 mins to the Rochester International Airport (RST) – 96 miles directly on Interstate-90
Freight Airport Access – Access to airport(s) with freight air service Driving distance to proximate freight airport(s) Description of the handling capacity of each proximate freight airport (e.g. current tonnage / year, runway length) | Fulfilled | About 25 minutes to the La Crosse Regional Airport (LSE) – 26 miles directly on Interstate-90 About 1 hour and 30 mins to the Rochester International Airport (RST) – 96 miles directly on Interstate-90

## Slide 5: Field Investigation: Sparta South Pointe Business Park – Site Introduction
Requirement | Status | Comments
Master Site plan and/or site plan illustrating exact dimensions and number of parcels for the specific site being submitted for certification Minimum of 20 contiguous developable acres | Fulfilled | Master Site Plan provided which clearly delineates Lot 9 as a 114.4 acre site being proposed for certification
Aerial photograph illustrating the specific site being submitted for certification as well as the surrounding properties | Fulfilled | Aerial Photo of the Sparta South Pointe Business Park has been submitted which highlights the surrounding uses which includes an industrial operation towards the west and sparse residential towards the eastern and southern borders of the site
ALTA Survey (American Land Trust Association) inclusive of site being submitted for certification | Fulfilled | ALTA survey covering the entire site was performed in August 2017 and produced during the field investigations
Flood Plain map (FEMA-produced FIRM map) No part of the site may be located on (or directly adjacent to) a flood plain | Fulfilled | FEMA-produced FIRM map submitted (January 2017) No part of site is on or directly adjacent to a floodplain
Flight path specifications (if site is within 2 miles of an airport) Documentation (letter or map from FAA) indicating any restrictions related to airport proximity | Fulfilled | Not proximate (within 2 miles) of any airport; nearest airport is small, military, and ~6.0 miles northeast of site
Ownership: entire site must be wholly controlled by a single owner with documented willingness to sell to an industrial user Certificate of title Letter from property owner/option holder stating that site is for sale/lease | Fulfilled | Site is wholly owned by the City of Sparta The intent to sell has been documented (Mar 2017) Documentation of past transition of ownership has been produced
Asking Price – current asking price for sale or lease of the land must be indicated Documentation of asking price on a per-acre basis | Fulfilled | Asking price for the land is stated as $15,000 / acre

## Slide 6: Field Investigation: Sparta South Pointe Business Park – Site Physical Characteristics
Requirement | Status | Comments
Topography – no significant topography issues that could present major obstacles to industrial development of the site Topographic map with clearly defined contour intervals of 2’ or less | Fulfilled | Current topographic map of the Sparta South Pointe Business Park has been produced Site presently slopes slightly downward from south to north of the property with the high point (880’) and low point (824’) which results in an elevation change of approximately 55 feet (excluding an isolated mound at the south boundary of the site)
Easements – site not intersected by utility or any other easement that would prevent development of 20 contiguous acres of the site Maps of all utility infrastructure directly proximate to (or intersecting) the site | Fulfilled | ALTA survey covering the entire site was performed in August 2017 and produced during the field investigations highlighting all easements on the site Easement No. 9 and No. 11 on the ALTA survey were blanket easements and further investigation revealed that Easement No. 9 expired in 1966; Easement No. 11 allows the Monroe County Telephone Company to install an underground telephone line on the property, but stipulates that MCTC must remove or move any line on the site within 10 days’ notice from the owner if the site is to be commercially developed. No telephone line was found on the site
Wetlands – demonstrate that a user can utilize 20 contiguous acres that are not affected by wetlands Wetlands delineation report conducted on the site, demonstrating that impacts to protected waters will be avoided (or approved mitigation plans) | Fulfilled | Wetlands delineation study was conducted (Mar 2017) by Department of Natural Resources and provided during the field investigations The study highlights a small wetland (Wetland 1) situated along the northern boundary of the site, which could potentially be completely avoided in development of the site
Environmental Assessment – no known environmental impediments to immediate industrial development Phase I within the past 2 years; Remediated sites provide completed Phase II and documentation of liability protection | Fulfilled | Phase I ESA completed July 2016– de minimus finding of a REC (full oil drum on ground next to barn) Documentation regarding the removal of oil drum has been provided and no further investigation is warranted at this stage

## Slide 7: Field Investigation: Sparta South Pointe Business Park – Site Physical Characteristics
Requirement | Status | Comments
Geotechnical – minimum of 5 soil borings (for 50-acre site); no presence of sink holes or limestone caves; suitable water content / water table depth | Fulfilled | Initial Geotechnical Study completed in August 2016 included 10 soil borings dispersed across a larger area ~180 acres, inclusive of the site proposed for certification; Three of those soil borings terminated at auger refusal on Weathered Sandstone at depths of less than 10 feet from surface, with two as shallow as 3’-4’ During field investigation, Deloitte suggested that additional soil borings should be conducted on the 114.4-acre site proposed for certification in order to establish a more thorough investigation of subsurface conditions on the site The City of Sparta commissioned a second geotechnical analysis consisting of 15 additional soil borings distributed across only the 114.4 acre site; Nearly all of the additional borings encountered Weathered Sandstone at depths below surface of less than 10’, and in several of these borings, auger refusal was encountered at 3’ – 6’ The significant presence of Weathered Sandstone at depths of less than 10 feet across multiple areas of the site may significantly increase the cost and timing required for site preparation on the site, particularly if pits or deeper foundations are required
Archaeological / Historical – no known archaeological / historical impediments to immediate industrial development | Fulfilled | Archaeological survey conducted in July of 2016 by personnel from Mississippi Valley Archaeology Center of proposed business park (including entirety of the site) No artifacts were discovered on site and no concerns exist regarding any archaeological or historical impediments
Endangered Species – no known impediments to immediate industrial development related to endangered species | Fulfilled | Endangered Resources Review completed on July 26, 2016 by Department of Natural Resources covering the entire area of the business park Study indicted no presence of endangered resources within the study area
Fire Insurance Classification Rating Distance to the nearest servicing fire department | Fulfilled | Class 3 rating applies to the community; The site is 2 miles from the City of Sparta Fire Department

## Slide 8: Field Investigation: Sparta South Pointe Business Park – Zoning
Requirement | Status | Comments
Industrial zoning (or equivalent) currently in place, or zoning change procedure underway as of field investigation Zoning certificate and relevant ordinance; or, letter from municipal authorities communicating status of zoning change procedure as of field investigation date | Fulfilled | The Sparta South Pointe Business Park has a Zoning of M-3 The M-3 Manufacturing Industrial Park District is intended for use as industrial park with a detailed master plan and development standards. The permitted uses allow for light manufacturing and heavy manufacturing has been mentioned as a conditional use on the site
Surrounding area zoning – zoning of surrounding properties compatible with industrial development of site Comprehensive Plan of area (if applicable) Zoning map of area including site (if applicable) Existing/planned zoning of surrounding land Codes, Covenants, and Restrictions on site and surrounding sites, as applicable | Fulfilled | A preliminary comprehensive zoning map of the area and surrounding uses was produced by the city The residential to the NE of the park has also been zoned M-3 and hence will not present a concern for development

## Slide 9: Field Investigation: Sparta South Pointe Business Park – Electric Utility Infrastructure
Requirement | Status | Comments
Proximate electric power infrastructure availability and capacities Utility maps indicating location and current size / capacity of proximate transmission lines, distribution lines, and substations; Available capacity that could be provided to the site for each of the above | Fulfilled | Xcel Energy provides transmission and distribution-level service to the region The city of Sparta is served by 2 main substations (Sparta substation and Monroe county substation) The Sparta substation consists of two (2) 28 MVA transformers and is served by the transmission lines from Xcel Energy Xcel Energy can provide service to the business park from the Monroe County Substation (~2 miles from the site), which has 22 MVA available capacity and a 12.5kV distribution line that currently terminates across Hwy 27, adjacent west of the site
Detailed description of dual feed potential (current or proposed redundant service) Overview (and map) illustrating dual feed electric service routes, including location, size and capacity of each node of delivery (substation, distribution line, etc..) | Fulfilled | There is potential to provide dual feed service to the site from Sparta Substation, which has two 28 MVA transformers
Introduction of any proposed improvements to / extensions of electric service to the site Cost, timing, and funding responsibility of any improvements required to provide proposed service to the site | Fulfilled | The extension to serve the site has been proposed from the distribution line service the Tyson facility located across from Highway 27 and this overhead extension will utilize the existing easement to cross Highway 27 Post crossing Highway 27 the distribution line will be situated underground to serve all end users on the business park

## Slide 10: Field Investigation: Sparta South Pointe Business Park – Gas, Water & Wastewater Utility Infrastructure
Requirement | Status | Comments
Proximate natural gas infrastructure availability and capacities Utility maps indicating location and current size / capacity of proximate transmission lines, distribution lines, delivery points, etc.; Available capacity that could be provided to the site for each of the above | Fulfilled | The current infrastructure includes a 2 inch line extending along Highway 27 that serves current customers but does have adequate available capacity There is another existing 4 inch line along Highway 27 that can be extended to provide service to the site. The 2700 feet extension will go under Interstate-90 and take about 6 months to complete and the available capacity on this line is between 20-30M BTU/hr
Introduction of any proposed improvements to / extensions of natural gas service to the site Cost, timing, and funding responsibility of any improvements required to provide proposed service to the site | Fulfilled | An infrastructure project (called Sparta Lateral) has been proposed to completely serve the city of Sparta, which will involve running a high pressure line to the Sparta area from Tomah (slated for construction in 2018)
Natural Gas
Requirement | Status | Comments
Proximate water and wastewater infrastructure availability and capacities Utility maps indicating location and current size / capacity of proximate mains, distribution lines, lift stations, etc.; Available capacity that could be provided to the site for each of the above | Fulfilled | Water – Sparta has 6 existing wells at a depth of about 165-300 feet (400 – 1000 GPM) as a water source and 4 Water Towers (3 of them at ~600 gallons each and 1 at !250 gallons). The available capacity is about 1.4MGPD Wastewater – 15-inch gravity from the sit to the sand mine where it will feed into a lift station at a distance of about 1.5 miles from the site. The available capacity of the lift station is about 135,000 GPD
Introduction of any proposed improvements to / extensions of service to the site Cost, timing, and funding responsibility of any improvements required to provide proposed services to the site | Fulfilled | Water - The Idaho booster station has 2 12-inch mains to the site (High Pressure and Low Pressure ). The LP main can be used to provide water to the site at about 35psi. There is an elevated water tank that can provide 3500 GPM @ 20 psi for fire suppression Wastewater – The capacity of the lift station ca be increased to add another 165,000 GPD if required. The WWTP has a built capacity of 2.5MGD and is currently utilized at ~60%
Water & Wastewater

## Slide 11
Wausau Business Campus
Wausau, Marathon County, Wisconsin

## Slide 12: Field Investigation: Wausau Business Campus – Community Introduction
Requirement | Status | Comments
Community overview General community fit for industrial activity | Fulfilled | City of Wausau is a community of ~40,000 people located in Marathon County, Wisconsin which has a population of ~135,000. Wausau is also the county seat of Monroe County Wausau is the principal city and transportation hub of Northern and Central Wisconsin and gateway to Wisconsin’s Northwoods. Wausau anchors a growing combined metropolitan statistical area of over 308,000 people. The major industrial firms in the area include building materials, advanced manufacturing, healthcare, information technology and insurance. Wausau is one of the state's highest grossing areas for tourism, boasting all-season recreational opportunities that include Wisconsin's largest ski mountain at nearby Granite Peak, one of the nation's premiere curling facilities, outstanding mountain and snow bike trails, an internationally recognized whitewater kayaking course and is host to the Olympic-style Badger State Games Liberty Mutual is one of the largest employers (900 employees) in Wausau, specializes in Insurance operations and has recently announced plans for expansion and relocation to downtown Wausau The biggest employer is Wausau is Aspirus Hospital (2200 employees) The current campus of the business park includes major employers such as Wausau Window and Wall Systems (manufacturing windows and door systems), Foot Locker (distribution center), Linetech (architectural coatings)
Site environment overview General surroundings fit for industrial activity | Fulfilled | The site being proposed for certification falls within the Wausau Business Campus which is located towards the west of the Wausau city center at a distance of approximately~8.0 miles The area towards the east of the business campus comprises significant industrial presence There is sparse residential presence adjacent south to the site; Great Lakes Cheese recently purchased the site adjacent to the west and plans to build a new cheese packaging plant
Roadway access Proximity to interstate and other highways providing convenient access for labor and logistics Access roads in place to site, or plans in place to extend access road(s) to site | Fulfilled | The site is ~1 mile north of Hwy-29 and ~5 miles west of I-39; Hwy-29 is 4-lane, limited access, and an interchange at Co. Rd. ‘O’ provides direct access to the western boundary of the business park

## Slide 13: Field Investigation: Wausau Business Campus – Community Introduction
Requirement | Status | Comments
Rail Access (if applicable) – not required feasibility of service (if site is to be marketed as rail-served) | Not applicable | Site is currently not rail served
Commercial Airport Access – Access to airport(s) with commercial air service Driving distance to proximate commercial airport(s) and overview of service available | Fulfilled | ~20 mins to the Central Wisconsin Airport (CWA), 18 miles away directly on Hwy-29 and I-39; ~1 hour to the Rhinelander-Oneida County Airport (RHI), 60 miles directly on I-39
Freight Airport Access – Access to airport(s) with freight air service Driving distance to proximate freight airport(s) Description of the handling capacity of each proximate freight airport (e.g. current tonnage / year, runway length) | Fulfilled | ~20 mins to the Central Wisconsin Airport (CWA), 18 miles away directly on Hwy-29 and I-39; ~1 hour to the Rhinelander-Oneida County Airport (RHI), 60 miles directly on I-39

## Slide 14: Field Investigation: Wausau Business Campus – Site Introduction
Requirement | Status | Comments
Master Site plan and/or site plan illustrating exact dimensions and number of parcels for the specific site being submitted for certification Minimum of 20 contiguous developable acres | Fulfilled | The area being proposed for certification is a 41.0 acre Lot on the Wausau Business Campus according to the site layout submitted by the community
Aerial photograph illustrating the specific site being submitted for certification as well as the surrounding properties | Fulfilled | Aerial Photo of Wausau Business Campus has been submitted which highlights the surrounding uses
ALTA Survey (American Land Trust Association) inclusive of site being submitted for certification | Fulfilled | ALTA / NSPS Land Title Survey provided dated November 15, 2017
Flood Plain map (FEMA-produced FIRM map) No part of the site may be located on (or directly adjacent to) a flood plain | Fulfilled | FEMA-produced FIRM map submitted (July 2010) No part of site is on or directly adjacent to a floodplain
Flight path specifications (if site is within 2 miles of an airport) Documentation (letter or map from FAA) indicating any restrictions related to airport proximity | Fulfilled | Not proximate (within 2 miles) of any airport; nearest airport is 18 miles away from the site
Ownership: entire site must be wholly controlled by a single owner with documented willingness to sell to an industrial user Certificate of title Letter from property owner/option holder stating that site is for sale/lease | Fulfilled | Site is wholly owned by the City of Wausau The city of Wausau all 205 acres of the proposed Wausau Business Campus from one farmer
Asking Price – current asking price for sale or lease of the land must be indicated Documentation of asking price on a per-acre basis | Fulfilled | An asking price of $12,500 / acre has been quoted by the city and documented on the city website

## Slide 15: Field Investigation: Wausau Business Campus – Site Physical Characteristics
Requirement | Status | Comments
Topography – no significant topography issues that could present major obstacles to industrial development of the site Topographic map with clearly defined contour intervals of 2’ or less | Fulfilled | Current topographic map of the Wausau Business Campus has been provided Topo map indicates substantial topography with high point (1,390’) on the SW and low point (1,300’) on NE resulting in an elevation change of approximately 90 feet across the 40 acre site; the elevation change across the central core area of the site is approximately 55 to 60 feet
Easements – site not intersected by utility or any other easement that would prevent development of 20 contiguous acres of the site Maps of all utility infrastructure directly proximate to (or intersecting) the site | Fulfilled | ALTA / NSPS Land Title Survey provided dated November 15, 2017 A utility easement currently runs on the South Eastern boundary of the site
Wetlands – demonstrate that a user can utilize 20 contiguous acres that are not affected by wetlands Wetlands delineation report conducted on the site, demonstrating that impacts to protected waters will be avoided (or approved mitigation plans) | Fulfilled | Wetlands delineation study was conducted (Dec 2016) by Wetlands and Waterways, LLC and provided during the field investigations Most recent Wetlands determination highlights two small wetlands on the north western and north eastern boundaries of the 40 acre site
Environmental Assessment – no known environmental impediments to immediate industrial development Phase I within the past 2 years; Remediated sites provide completed Phase II and documentation of liability protection | Fulfilled | Phase I ESA study was conducted (Jun 2017) by Becher-Hoppe Associates Inc. and provided during the field investigations No potential RECs (Recognized Environmental Conditions) were identified as part of the study

## Slide 16: Field Investigation: Wausau Business Campus – Site Physical Characteristics
Requirement | Status | Comments
Geotechnical – minimum of 5 soil borings (for 50-acre site); no presence of sink holes or limestone caves; suitable water content / water table depth | Fulfilled | A geotechnical study was conducted (Jan 2017) by American Engineering Testing, Inc. and provided during the field investigations which carried out 20 test-pits over 205 acres on the subject property; test pits on the site being submitted for certification encountered weathered bedrock at an average of 7 to 10 feet (TP-11 to TP-17) 4 soil borings were conducted in October 2017 one the site submitted for certification; Weathered bedrock encountered at 2 feet below the ground surface on boring B-89 and at 9.5 feet for borings B-87 and B-90. Boring Log for B-89 illustrates auger refusal at 2.6 feet; a boring was attempted 6 feet north of B-89 and auger refusal was encountered there at 2.0 feet The site’s bedrock profile appears to be very irregular with very shallow bedrock encountered within the central core area of the site
Archaeological / Historical – no known archaeological / historical impediments to immediate industrial development | Fulfilled | Archaeological / Historical survey completed on the site in May 2017 Documentation provided by the Wisconsin Historical Society confirms that there are no known instances of any architectural or archaeological sites or findings in the area of the site or the immediately surrounding areas
Endangered Species – no known impediments to immediate industrial development related to endangered species | Fulfilled | Endangered Resources Review completed on June 6, 2017, covering the entire area of Wausau Business Campus; Study indicted no presence of endangered resources within the study area
Fire Insurance Classification Rating Distance to the nearest servicing fire department | Fulfilled | The site is about 4.5 miles from the City of Wausau Fire Department The Fire ISO rating is 2

## Slide 17: Field Investigation: Wausau Business Campus – Zoning
Requirement | Status | Comments
Industrial zoning (or equivalent) currently in place, or zoning change procedure underway as of field investigation Zoning certificate and relevant ordinance; or, letter from municipal authorities communicating status of zoning change procedure as of field investigation date | Fulfilled | Site is zoned IP (Industrial Park) District – The IP (Industrial Park) zoning has permitted uses such as Warehouse / Distribution Centers, Light manufacturing, Laboratory testing, carpet and boot manufacturing and similar uses
Surrounding area zoning – zoning of surrounding properties compatible with industrial development of site Comprehensive Plan of area (if applicable) Zoning map of area including site (if applicable) Existing/planned zoning of surrounding land Codes, Covenants, and Restrictions on site and surrounding sites, as applicable | Fulfilled | A comprehensive zoning map of the area and surrounding uses was produced by the city There is a medical waste transmission plant and a composite manufacturer surrounding the site There is a proposed cheese packaging operation (Great Lakes Cheese Company) that will be constructed adjacent west to the certified site, which is intended to start operations in 2019

## Slide 18: Field Investigation: Wausau Business Campus – Electric Utility Infrastructure
Requirement | Status | Comments
Proximate electric power infrastructure availability and capacities Utility maps indicating location and current size / capacity of proximate transmission lines, distribution lines, and substations; Available capacity that could be provided to the site for each of the above | Fulfilled | The site is currently served from the Sunnyvale substation (115kV – 24.9kV) located at a distance ~2.5 miles from the site by a 24.9 kV distribution line The Sunnyvale substation is fed by a 115 kV transmission line which runs along Hwy 29 to the south of Highland drive; the Sunnyvale sub is currently equipped with 1 26MVA transformer with an available capacity of about ~10MW The backup substation for delivering service to the site is the Castle substation in the village of Maritime city located at a distance of about 5.5 miles and the closet generation station (Weston Power Plant – Coal Plant) ~10 miles from the site
Detailed description of dual feed potential (current or proposed redundant service) Overview (and map) illustrating dual feed electric service routes, including location, size and capacity of each node of delivery (substation, distribution line, etc..) | Fulfilled | There is potential to provide dual feed service to the site from the Sunnyvale substation as it is designed for dual feed to accommodate another transformer
Introduction of any proposed improvements to / extensions of electric service to the site Cost, timing, and funding responsibility of any improvements required to provide proposed service to the site | Fulfilled | The proposed solution to provide service to the site is a distribution line extension from the Sunnyvale substation which can currently serve upto 10 MW of load for an end user on the site The proposed timeline for the extension of the distribution line is estimated at 12 months. If greater capacity is required at the site the estimated timeline is about 24 months for an additional transformer at the Sunnyvale substation

## Slide 19: Field Investigation: Wausau Business Campus – Gas, Water & Wastewater Utility Infrastructure
Natural Gas
Requirement | Status | Comments
Proximate water and wastewater infrastructure availability and capacities Utility maps indicating location and current size / capacity of proximate mains, distribution lines, lift stations, etc.; Available capacity that could be provided to the site for each of the above | Fulfilled | Water – City of Wausau is currently bidding out construction of a 12” water line to run along the SE boundary of the site, which will enable service @60-80psi, which is part of a city water supply of 6 wells, 7 booster stations, and 5 tanks. Wastewater – City of Wausau is currently bidding out construction of a 12” gravity line on the SE corner on the property which will run to an existing gravity line on 84th Ave that proceeds to the lift station on 72nd Ave and Stewart Street. The WWTP currently has an available capacity of approximately 2.7MGPD.
Introduction of any proposed improvements to / extensions of service to the site Cost, timing, and funding responsibility of any improvements required to provide proposed services to the site | Fulfilled | Water – The proposed solution to serve the site will be a tap off the 12 inch line to the end user on the site @60-80 psi. A new 200,000 Gallon water tower proposed adjacent SW of the site will provide 3,000 GPM fire suppression for 1 hour Wastewater – The proposed solution to serve the site will be a tap off the existing 12 inch line to the end user on the site. The upgrade designs of the lift station have been completed and will be out to bid soon.
Water & Wastewater
Requirement | Status | Comments
Proximate natural gas infrastructure availability and capacities Utility maps indicating location and current size / capacity of proximate transmission lines, distribution lines, delivery points, etc.; Available capacity that could be provided to the site for each of the above | Fulfilled | The natural gas provider is Wisconsin Public service (WPS) and the current infrastructure includes a 6 inch plastic line along Highland drive and a 4 inch line planned to be completed this year to serve the Great Lakes Cheese operation on the business campus and the regulator station is along Highland drive
Introduction of any proposed improvements to / extensions of natural gas service to the site Cost, timing, and funding responsibility of any improvements required to provide proposed service to the site | Fulfilled | The proposed solution to serve the site would be a tap off the proposed 4 inch line @40 psi and will provide @28-29 psi when extended to the site

## Slide 20
Highway 45 & Highway G Site – Eagle River
Eagle River, Vilas County, Wisconsin

## Slide 21: Field Investigation: Highway 45 & Highway G Site – Eagle River – Community Introduction
Requirement | Status | Comments
Community overview General community fit for industrial activity | Fulfilled | City of Eagle River is a community of ~1,400 people located in Vilas County, Wisconsin. Eagle River is also the county seat of Vilas County and happens to be the only city in the county Eagle River is a well-known and popular tourist destination in Northern Wisconsin and is also home to a wide range of business types including 4,000 business establishments within 25 miles of Eagle River The Grow North region of Wisconsin commonly known as The Northwoods of Wisconsin is comprised of eight counties including Vilas County and features a population of 198,500 and a labor force of 100,000 people across a variety of industries The City of Eagle River caters to about 10,000 annually as a result of seasonal population and recreational purposes. The major employers in Eagle River include Construction Component Equipment (build of composite walls), Rolcom (Conveyor systems), Eagle Manufacturing Company (Fuel cells) and FedEx Ground Surrounding areas of Eagle River is home to Nicolet Area Technical College and relevant industrial presence within a 20 mile radius including the city of Rhinelander which is home to paper mills and machine shops
Site environment overview General surroundings fit for industrial activity | Fulfilled | The site being proposed for certification is located towards the north of the Eagle River city center at a distance of approximately~2.5 miles Adjacent uses to the site include a campground to the north, a county maintenance facility and small retail store to the east, and agricultural to the west; The site is less than a half-mile north of Eagle River County Airport (across County Rd. G)
Roadway access Proximity to interstate and other highways providing convenient access for labor and logistics Access roads in place to site, or plans in place to extend access road(s) to site | Fulfilled | The site is adjacent to US Hwy 45 to the east and County Rd ‘G’ to the South, from which ingress-egress would be established to the site; Site is ~2 miles north of US Hwy 70, via US Hwy 45

## Slide 22: Field Investigation: Highway 45 & Highway G Site – Eagle River – Community Introduction
Requirement | Status | Comments
Rail Access (if applicable) – not required feasibility of service (if site is to be marketed as rail-served) | Not applicable | Site is currently not rail served Port in Ontonagon, Michigan on Lake Superior is the closet port to the site at a distance of approximately 100 miles
Commercial Airport Access – Access to airport(s) with commercial air service Driving distance to proximate commercial airport(s) and overview of service available | Fulfilled | Rhinelander-Oneida County Airport (RHI) is ~40 mins (30 miles) from site, directly on Hwy 17 Central Wisconsin Airport (CWA) is ~99 miles south of the site, directly along I-39
Freight Airport Access – Access to airport(s) with freight air service Driving distance to proximate freight airport(s) Description of the handling capacity of each proximate freight airport (e.g. current tonnage / year, runway length) | Fulfilled | Rhinelander-Oneida County Airport (RHI) is ~40 mins (30 miles) from site, directly on Hwy 17 Central Wisconsin Airport (CWA) is ~99 miles south of the site, directly along I-39

## Slide 23: Field Investigation: Highway 45 & Highway G Site – Eagle River – Site Introduction
Requirement | Status | Comments
Master Site plan and/or site plan illustrating exact dimensions and number of parcels for the specific site being submitted for certification Minimum of 20 contiguous developable acres | Fulfilled | The total lot size is 21.02 acres, which includes a 2.9-acre recreational trail easement tracing the inside of the western boundary of the site (seen as potentially complimentary to future end uses of the site, as the recreational easement traces the site boundary)
Aerial photograph illustrating the specific site being submitted for certification as well as the surrounding properties | Fulfilled | Aerial Photo of the Eagle River site has been submitted which highlights the surrounding uses which includes a municipal building towards the eastern boundary of the site and a campground on the northern boundary of the site
ALTA Survey (American Land Trust Association) inclusive of site being submitted for certification | Fulfilled | Final ALTA / NSPS Land Title Survey provided dated October, 2017
Flood Plain map (FEMA-produced FIRM map) No part of the site may be located on (or directly adjacent to) a flood plain | Fulfilled | FEMA-produced FIRM map submitted (June 2012) No part of site is on or directly adjacent to a floodplain; closest floodplain located adjacent to the western boundary of the site
Flight path specifications (if site is within 2 miles of an airport) Documentation (letter or map from FAA) indicating any restrictions related to airport proximity | Fulfilled | The site is less than a half-mile north of Eagle River County Airport (across County Rd. G) Due to the airport proximity, there are some FAA height restrictions on the far southeastern section of the site, but the lowest restriction is 62’ building height; FAA reports their approval process for a new building construction on the site would require 45 days
Ownership: entire site must be wholly controlled by a single owner with documented willingness to sell to an industrial user Certificate of title Letter from property owner/option holder stating that site is for sale/lease | Fulfilled | Site is wholly owned by Vilas County Commercial, LLC The owner has communicated an intent to sell the property to an industrial user
Asking Price – current asking price for sale or lease of the land must be indicated Documentation of asking price on a per-acre basis | Fulfilled | Asking price stated by the owner as $217,800 / acre ($5.00 / sq. ft.)

## Slide 24: Field Investigation: Highway 45 & Highway G Site – Eagle River – Site Physical Characteristics
Requirement | Status | Comments
Topography – no significant topography issues that could present major obstacles to industrial development of the site Topographic map with clearly defined contour intervals of 2’ or less | Fulfilled | Current topographic map of the Eagle River site has been produced The site slopes from south-east to the south-west with the high point (1652’) and the low point (1634’) resulting in an elevation change of approximately 18 feet
Easements – site not intersected by utility or any other easement that would prevent development of 20 contiguous acres of the site Maps of all utility infrastructure directly proximate to (or intersecting) the site | Fulfilled | The preliminary ALTA survey demonstrates a buried telecommunication line traversing the western portion of the site, east of the recreational trail easement A letter demonstrating support to relocate the telecommunication line in order to facilitate site development was provided by the telecom company dated August, 2017
Wetlands – demonstrate that a user can utilize 20 contiguous acres that are not affected by wetlands Wetlands delineation report conducted on the site, demonstrating that impacts to protected waters will be avoided (or approved mitigation plans) | Fulfilled | Wetlands delineation study was conducted (Jun 2016) by MSA Professional Services and provided during the field investigations The study highlights 2 small wetlands (Wetland 1 and 2) situated outside the developable area of the site (northern boundary)
Environmental Assessment – no known environmental impediments to immediate industrial development Phase I within the past 2 years; Remediated sites provide completed Phase II and documentation of liability protection | Fulfilled | Phase I was Completed (July 2015) by MSA Professional Services highlighted 3 potential RECs regarding an abandoned rail road, homestead that was burned in a fire department training and a driven well point located inside the homestead Phase II was Completed (June 2016) by MSA Professional Services which addressed the RECs recognized in Phase I and determined that no further action is required

## Slide 25: Field Investigation: Highway 45 & Highway G Site – Eagle River – Site Physical Characteristics
Requirement | Status | Comments
Geotechnical – minimum of 5 soil borings (for 50-acre site); no presence of sink holes or limestone caves; suitable water content / water table depth | Fulfilled | A geotechnical study was conducted (May 2016) by American Engineering Testing, Inc. and provided during the field investigations which carried out 5 borings over on the subject property No significant risks related to bedrock, groundwater levels and other geotechnical characteristics were identified in the geotechnical study
Archaeological / Historical – no known archaeological / historical impediments to immediate industrial development | Fulfilled | Archaeological / Historical survey completed in June 2016 on the site No artifacts were discovered on site and no concerns exist regarding any archaeological or historical impediments
Endangered Species – no known impediments to immediate industrial development related to endangered species | Fulfilled | Endangered species survey completed in June 2016 on the site Study indicted no presence of endangered resources within the study area
Fire Insurance Classification Rating Distance to the nearest servicing fire department | Fulfilled | Class 4 rating applies to the community; The site is 2.5 miles from the City of Eagle River Fire Department along Highway 45

## Slide 26: Field Investigation: Highway 45 & Highway G Site – Eagle River – Zoning
Requirement | Status | Comments
Industrial zoning (or equivalent) currently in place, or zoning change procedure underway as of field investigation Zoning certificate and relevant ordinance; or, letter from municipal authorities communicating status of zoning change procedure as of field investigation date | Fulfilled | The site was previously zoned as a combination of C-2 (Highway Commercial), OR (Office / Residence), and PR (Park and Recreation) The City of Eagle River has provided a re-zoning letter (dated September, 2017), which highlights the change in zoning change of the site to ‘Industrial’
Surrounding area zoning – zoning of surrounding properties compatible with industrial development of site Comprehensive Plan of area (if applicable) Zoning map of area including site (if applicable) Existing/planned zoning of surrounding land Codes, Covenants, and Restrictions on site and surrounding sites, as applicable | Fulfilled | A comprehensive zoning map of the area and surrounding uses was produced by the city The area towards the north and south of the site has been zoned as Commercial / Retail / Recreational

## Slide 27: Field Investigation: Highway 45 & Highway G Site – Eagle River – Electric Utility Infrastructure
Requirement | Status | Comments
Proximate electric power infrastructure availability and capacities Utility maps indicating location and current size / capacity of proximate transmission lines, distribution lines, and substations; Available capacity that could be provided to the site for each of the above | Fulfilled | The site is currently served from the Adams substation (0.25 miles) by a 4 kV distribution line, which could deliver at least 1 MW to site; Adams substation is fed by the 25kV line from the Eagle River substation which receives a 138kV feed from American Transmission Co. (ATC)
Detailed description of dual feed potential (current or proposed redundant service) Overview (and map) illustrating dual feed electric service routes, including location, size and capacity of each node of delivery (substation, distribution line, etc..) | Fulfilled | There is potential to provide dual feed service to the site from the Adams and Eagle River substations
Introduction of any proposed improvements to / extensions of electric service to the site Cost, timing, and funding responsibility of any improvements required to provide proposed service to the site | Fulfilled | The proposed solution to provide 4kV service is extension of the 4kV line underground to the border of the site. The 4kV line can currently serve upto 1 MW of load for an end user on the site The proposed solution to provide 25kV service is extension of the 25kV line that currently terminates at the high school across Highway 45 from the site. All Right-of-Way is in place to extend the distribution line and the 0.25 mile extension is projected to take about 3 months to complete but would only be executed as needed by a future operation on the site.

## Slide 28: Field Investigation: Highway 45 & Highway G Site – Eagle River – Gas, Water & Wastewater Utility Infrastructure
Requirement | Status | Comments
Proximate natural gas infrastructure availability and capacities Utility maps indicating location and current size / capacity of proximate transmission lines, distribution lines, delivery points, etc.; Available capacity that could be provided to the site for each of the above | Fulfilled | The natural gas provider is Wisconsin Public service and the current infrastructure includes a 3 inch plastic line along County Road ‘G’ @15-60 psi and a 2 inch line along Highway 45 @15-60 psi. The regulator station is about 2 miles away from the site along Highway 45 There is a 6 inch transmission line @975 psi that provides incoming service to the regulator station
Introduction of any proposed improvements to / extensions of natural gas service to the site Cost, timing, and funding responsibility of any improvements required to provide proposed service to the site | Fulfilled | The proposed solution to serve the site would be a tap off the 3 inch line which currently has an available capacity of 5-11 MSCFH. If greater capacity is required to the site an upgrade would involve running a new distribution line from the regulator station along Highway 45 to the site.
Natural Gas
Requirement | Status | Comments
Proximate water and wastewater infrastructure availability and capacities Utility maps indicating location and current size / capacity of proximate mains, distribution lines, lift stations, etc.; Available capacity that could be provided to the site for each of the above | Fulfilled | Water – Eagle River has 3 existing wells and are in the process of installing a 4th well in the city. The total capacity of the system is about 1500GPM. There is a water tower in downtown which has a capacity of 300,000 gallons. Wastewater – 10-inch gravity line borders the site and continues to a lift station on the northern side of the airport. The maximum capacity of the lift station is about 700,000 GPM.
Introduction of any proposed improvements to / extensions of service to the site Cost, timing, and funding responsibility of any improvements required to provide proposed services to the site | Fulfilled | Water – There is an 8 inch water main @70 psi along Highway 45 adjacent to the site. The proposed solution to serve the site would be a tap off the existing 8 inch line. Wastewater – The proposed solution to serve the site would be a tap off the existing 10 inch gravity line. The WWTP is about 1.5 miles from the site and has a total capacity of 500,000 GPD of which about 200,000 is currently used.
Water & Wastewater

## Slide 29
Copyright © 2017 Deloitte Development LLC. All rights reserved.